2 Marks Questions

- Define potable water.

- Name any four major sources of water.

- What is meant by water quality standards?

- State the full form of WQI.

- What is the purpose of aeration in water treatment?

- Name any two commonly used disinfectants for water treatment.

- What is a stop valve used for?

- Define “transmission mains” in a water supply system.

- What is the principle behind sedimentation?

- Give two examples of membrane-based water treatment systems.

6 marks Questions

1. Explain the different sources of water and discuss the major water quality issues associated with them.

2. Describe the water quality requirements for domestic, industrial, and agricultural uses.

3. What are water quality standards? Explain the role of BIS and WHO standards in defining potable water quality.

4. Define Water Quality Index (WQI). How is it calculated and interpreted?

5. Write a short note on Water Safety Plans (WSP) and their role in ensuring safe drinking water.

6. Explain the need for planned water supply schemes for urban and rural areas.

7. Discuss the different components of a water supply system with a neat schematic representation.

8. Describe the transmission and distribution of water in a municipal water supply system.

9. List various types of valves used in water supply systems and describe their functions.

10. Explain the working principle of sedimentation and the factors affecting sedimentation efficiency.

16 marks Questions

1. Describe in detail the different stages of conventional water treatment, including aeration, coagulation-flocculation, sedimentation, filtration, and disinfection.

2. Discuss the various sources of water and compare their characteristics, advantages, and limitations with respect to water supply planning.

3. Explain industrial and agricultural water demand in detail. Discuss the factors affecting demand and methods for estimation.

4. What are service reservoirs? Explain different types, functions, design considerations, and storage requirements in a municipal water supply system.

5. Describe advanced water treatment processes like adsorption, ion exchange, and membrane filtration. Explain their working, advantages, and limitations.