Power System Protection

ASSIGNMENT- 3

## Part A: 2 Marks Each

- Define arcing phenomenon.

- Why is arc extinction easier in AC than DC?

- Define re-striking voltage.

- What is RRRV?

- What is current chopping? State one disadvantage of current chopping.

- What is capacitive current interruption?

- Define resistance switching.

- What is air blast circuit breaker?

- State one advantage of SF₆ circuit breaker.

- Why is HVDC circuit breaking difficult?

## Part B: 6 Marks Each

- Explain the physics of arc formation in circuit breakers. Describe the methods of arc extinction.

- Explain re-striking voltage and recovery voltage with suitable diagrams.

- Explain resistance switching and its importance.

- Describe the construction and working of oil circuit breaker.

- Explain the operation of air blast circuit breaker.

## Part C: 16 Marks Each

- Explain re-striking voltage, recovery voltage, and RRRV with waveforms and significance.

- Describe the construction, working, advantages, and disadvantages of oil circuit breakers.

- Explain the working principle, construction, and advantages of SF₆ circuit breakers.

- Describe the vacuum circuit breaker with neat diagram and explain its merits and limitations.

- Explain the air blast circuit breaker with suitable diagram and applications.